## Components
[Components] | scopeDoc | scopeName | scopeGroupId | scopeArtifactId
Scope | Documentation | ScopeName | GroupId | ArtifactId
BT_ModbusReadRegisters | DOC_BT_ModbusReadRegisters | ModbusReadRegisters | com.siemens.datawires.modbus.fb-modbus | ModbusReadRegisters
BT_ModbusTCP | DOC_BT_ModbusTCP | ModbusTCP | com.siemens.datawires.modbus.fb-modbus | Modbus
BT_ModbusRTU | DOC_BT_ModbusRTU | ModbusRTU | com.siemens.datawires.modbus.fb-modbus | Modbus
BT_ModbusSMAAdapter | DOC_BT_ModbusSMAAdapter | ModbusSMAAdapter | com.siemens.datawires.modbus.fb-modbus | ModbusSMAAdapter
BT_Iec61850CMV | DOC_BT_Iec61850CMV | Iec61850CMV | com.siemens.ct.iec61850.fb-iec61850 | Iec61850CMV
BT_CyclicTimer | DOC_BT_CyclicTimer | CyclicTimer | com.siemens.datawires.basic | CyclicTimer
BT_Iec61850ACx | DOC_BT_Iec61850ACx | Iec61850ACx | com.siemens.ct.iec61850.fb-iec61850 | Iec61850ACx
BT_Iec61850APC | DOC_BT_Iec61850APC | Iec61850APC | com.siemens.ct.iec61850.fb-iec61850 | Iec61850APC
BT_Iec61850IED | DOC_BT_Iec61850IED | Iec61850IED | com.siemens.ct.iec61850.fb-iec61850 | Iec61850IED
BT_Iec61850IEDServer | DOC_BT_Iec61850IEDServer | Iec61850IEDServer | com.siemens.ct.iec61850.fb-iec61851 | Iec61850IEDServer
BT_Iec61850LD | DOC_BT_Iec61850LD | Iec61850LD | com.siemens.ct.iec61850.fb-iec61852 | Iec61850LD
BT_Iec61850LN | DOC_BT_Iec61850LN | Iec61850LN | com.siemens.ct.iec61850.fb-iec61853 | Iec61850LN
BT_Iec61850MV | DOC_BT_Iec61850MV | Iec61850MV | com.siemens.ct.iec61850.fb-iec61854 | Iec61850MV
BT_XMPPClient | DOC_BT_XMPPClient | XMPPClient | com.siemens.ct.xmpp.generic-client | XMPPClient
[Doc] | docShort | docLong
Documentation | DocSummary | DocDescription
DOC_BT_ModbusReadRegisters
DOC_BT_ModbusTCP
DOC_BT_ModbusRTU
DOC_BT_ModbusSMAAdapter
DOC_BT_Iec61850CMV
DOC_BT_CyclicTimer
DOC_BT_Iec61850ACx
DOC_BT_Iec61850APC
DOC_BT_Iec61850IED
DOC_BT_Iec61850IEDServer
DOC_BT_Iec61850LD
DOC_BT_Iec61850LN
DOC_BT_Iec61850MV
DOC_BT_XMPPClient
[Interfaces] | portComponent | portName | portIsInput | portIsOutput | portType | portIsConst | portMinWires | portMaxWires | portDefValue
Port | Scope | PortName | Port | Port | ConfigType | Port | Integer | Integer | ConfigValue
io_BT_ModbusReadRegisters_from | BT_ModbusReadRegisters | from | io_BT_ModbusReadRegisters_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusReadRegisters_from | 1 | 1
io_BT_ModbusReadRegisters_count | BT_ModbusReadRegisters | count | io_BT_ModbusReadRegisters_count |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusReadRegisters_count | 1 | 1
io_BT_ModbusReadRegisters_trigger | BT_ModbusReadRegisters | trigger | io_BT_ModbusReadRegisters_trigger |  | {http://www.siemens.com/DataWires/BasicTypes}Void |  | 1 | 1
io_BT_ModbusReadRegisters_readRegisters | BT_ModbusReadRegisters | readRegisters |  | io_BT_ModbusReadRegisters_readRegisters | {http://www.siemens.datawires/Modbus/Types}Range
io_BT_ModbusTCP_unitID | BT_ModbusTCP | unitID | io_BT_ModbusTCP_unitID |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusTCP_unitID |  | 1
io_BT_ModbusRTU_unitID | BT_ModbusRTU | unitID | io_BT_ModbusRTU_unitID |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusRTU_unitID |  | 1
io_BT_ModbusTCP_host | BT_ModbusTCP | host | io_BT_ModbusTCP_host |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusTCP_host |  | 1
io_BT_ModbusTCP_port | BT_ModbusTCP | port | io_BT_ModbusTCP_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusTCP_port |  | 1 | 502
io_BT_ModbusRTU_device | BT_ModbusRTU | device | io_BT_ModbusRTU_device |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusRTU_device |  | 1
io_BT_ModbusRTU_baud | BT_ModbusRTU | baud | io_BT_ModbusRTU_baud |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusRTU_baud |  | 1
io_BT_ModbusRTU_mode | BT_ModbusRTU | mode | io_BT_ModbusRTU_mode |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusRTU_mode |  | 1
io_BT_ModbusRTU_parity | BT_ModbusRTU | parity | io_BT_ModbusRTU_parity |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusRTU_parity |  | 1
io_BT_ModbusTCP_idleTimeout | BT_ModbusTCP | idleTimeout | io_BT_ModbusTCP_idleTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusTCP_idleTimeout |  | 1
io_BT_ModbusTCP_connectionTimeout | BT_ModbusTCP | connectionTimeout | io_BT_ModbusTCP_connectionTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusTCP_connectionTimeout |  | 1
io_BT_ModbusTCP_writeDelay | BT_ModbusTCP | writeDelay | io_BT_ModbusTCP_writeDelay |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusTCP_writeDelay |  | 1
io_BT_ModbusTCP_checkValidity | BT_ModbusTCP | checkValidity | io_BT_ModbusTCP_checkValidity |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_ModbusTCP_checkValidity |  | 1
io_BT_ModbusTCP_readRegisters | BT_ModbusTCP | readRegisters | io_BT_ModbusTCP_readRegisters |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_BT_ModbusTCP_readCoils | BT_ModbusTCP | readCoils | io_BT_ModbusTCP_readCoils |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_BT_ModbusTCP_writeCoils | BT_ModbusTCP | writeCoils | io_BT_ModbusTCP_writeCoils |  | {http://www.siemens.datawires/Modbus/Types}CoilRange |  |  | 1
io_BT_ModbusTCP_registerValues | BT_ModbusTCP | registerValues |  | io_BT_ModbusTCP_registerValues | {http://www.siemens.datawires/Modbus/Types}RegisterRange
io_BT_ModbusTCP_coilValues | BT_ModbusTCP | coilValues |  | io_BT_ModbusTCP_coilValues | {http://www.siemens.datawires/Modbus/Types}CoilRange
io_BT_ModbusTCP_status | BT_ModbusTCP | status |  | io_BT_ModbusTCP_status | {http://www.siemens.com/DataWires/Alarm}Alarm
io_BT_ModbusRTU_idleTimeout | BT_ModbusRTU | idleTimeout | io_BT_ModbusRTU_idleTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusRTU_idleTimeout |  | 1
io_BT_ModbusRTU_connectionTimeout | BT_ModbusRTU | connectionTimeout | io_BT_ModbusRTU_connectionTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusRTU_connectionTimeout |  | 1
io_BT_ModbusRTU_writeDelay | BT_ModbusRTU | writeDelay | io_BT_ModbusRTU_writeDelay |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusRTU_writeDelay |  | 1
io_BT_ModbusRTU_checkValidity | BT_ModbusRTU | checkValidity | io_BT_ModbusRTU_checkValidity |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_ModbusRTU_checkValidity |  | 1
io_BT_ModbusRTU_readRegisters | BT_ModbusRTU | readRegisters | io_BT_ModbusRTU_readRegisters |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_BT_ModbusRTU_readCoils | BT_ModbusRTU | readCoils | io_BT_ModbusRTU_readCoils |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_BT_ModbusRTU_writeCoils | BT_ModbusRTU | writeCoils | io_BT_ModbusRTU_writeCoils |  | {http://www.siemens.datawires/Modbus/Types}CoilRange |  |  | 1
io_BT_ModbusRTU_registerValues | BT_ModbusRTU | registerValues |  | io_BT_ModbusRTU_registerValues | {http://www.siemens.datawires/Modbus/Types}RegisterRange
io_BT_ModbusRTU_coilValues | BT_ModbusRTU | coilValues |  | io_BT_ModbusRTU_coilValues | {http://www.siemens.datawires/Modbus/Types}CoilRange
io_BT_ModbusRTU_status | BT_ModbusRTU | status |  | io_BT_ModbusRTU_status | {http://www.siemens.com/DataWires/Alarm}Alarm
io_BT_ModbusSMAAdapter_from | BT_ModbusSMAAdapter | from | io_BT_ModbusSMAAdapter_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_ModbusSMAAdapter_from |  | 1
io_BT_ModbusSMAAdapter_type | BT_ModbusSMAAdapter | type | io_BT_ModbusSMAAdapter_type |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusSMAAdapter_type |  | 1
io_BT_ModbusSMAAdapter_format | BT_ModbusSMAAdapter | format | io_BT_ModbusSMAAdapter_format |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_ModbusSMAAdapter_format |  | 1
io_BT_ModbusSMAAdapter_registerValues | BT_ModbusSMAAdapter | registerValues | io_BT_ModbusSMAAdapter_registerValues |  | {http://www.siemens.datawires/Modbus/Types}RegisterRange |  |  | 1
io_BT_ModbusSMAAdapter_intValue | BT_ModbusSMAAdapter | intValue |  | io_BT_ModbusSMAAdapter_intValue | {http://www.siemens.com/DataWires/BasicTypes}Integer
io_BT_ModbusSMAAdapter_longValue | BT_ModbusSMAAdapter | longValue |  | io_BT_ModbusSMAAdapter_longValue | {http://www.siemens.com/DataWires/BasicTypes}Long
io_BT_ModbusSMAAdapter_floatValue | BT_ModbusSMAAdapter | floatValue |  | io_BT_ModbusSMAAdapter_floatValue | {http://www.siemens.com/DataWires/BasicTypes}Float
io_BT_ModbusSMAAdapter_stringValue | BT_ModbusSMAAdapter | stringValue |  | io_BT_ModbusSMAAdapter_stringValue | {http://www.siemens.com/DataWires/BasicTypes}String
io_BT_Iec61850CMV_lnname | BT_Iec61850CMV | lnname | io_BT_Iec61850CMV_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850CMV_mag | BT_Iec61850CMV | mag | io_BT_Iec61850CMV_mag |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_BT_Iec61850CMV_ang | BT_Iec61850CMV | ang | io_BT_Iec61850CMV_ang |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_BT_CyclicTimer_repeat | BT_CyclicTimer | repeat | io_BT_CyclicTimer_repeat |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_CyclicTimer_repeat |  | 1
io_BT_CyclicTimer_event | BT_CyclicTimer | event |  | io_BT_CyclicTimer_event | {http://www.siemens.com/DataWires/BasicTypes}Void |  |  | 1
io_BT_Iec61850ACx_lnname | BT_Iec61850ACx | lnname | io_BT_Iec61850ACx_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850ACx_general | BT_Iec61850ACx | general | io_BT_Iec61850ACx_general |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  |  | 1
io_BT_Iec61850APC_lnname | BT_Iec61850APC | lnname | io_BT_Iec61850APC_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850APC_ctlVal | BT_Iec61850APC | ctlVal | io_BT_Iec61850APC_ctlVal |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_BT_Iec61850IED_iedname | BT_Iec61850IED | iedname |  | io_BT_Iec61850IED_iedname | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850IED_model | BT_Iec61850IED | model | io_BT_Iec61850IED_model |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_Iec61850IED_model |  | 1
io_BT_Iec61850IEDServer_iedname | BT_Iec61850IEDServer | iedname | io_BT_Iec61850IEDServer_iedname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850IEDServer_connection | BT_Iec61850IEDServer | connection | io_BT_Iec61850IEDServer_connection |  | {http://www.siemens.com/DataWires/BasicTypes}ObjRef |  |  | 1
io_BT_Iec61850IEDServer_mode | BT_Iec61850IEDServer | mode | io_BT_Iec61850IEDServer_mode |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_Iec61850IEDServer_mode |  | 1
io_BT_Iec61850IEDServer_port | BT_Iec61850IEDServer | port | io_BT_Iec61850IEDServer_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_Iec61850IEDServer_port |  | 1
io_BT_Iec61850IEDServer_serverStarted | BT_Iec61850IEDServer | serverStarted |  | io_BT_Iec61850IEDServer_serverStarted | {http://www.siemens.com/DataWires/BasicTypes}Void
io_BT_Iec61850LD_iedname | BT_Iec61850LD | iedname | io_BT_Iec61850LD_iedname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850LD_serverStarted | BT_Iec61850LD | serverStarted | io_BT_Iec61850LD_serverStarted |  | {http://www.siemens.com/DataWires/BasicTypes}Void |  |  | 1
io_BT_Iec61850LD_ld | BT_Iec61850LD | ld | io_BT_Iec61850LD_ld |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_Iec61850LD_ld |  | 1
io_BT_Iec61850LD_ldname | BT_Iec61850LD | ldname |  | io_BT_Iec61850LD_ldname | {http://www.siemens.com/DataWires/BasicTypes}String
io_BT_Iec61850LN_ldname | BT_Iec61850LN | ldname | io_BT_Iec61850LN_ldname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850LN_ln | BT_Iec61850LN | ln | io_BT_Iec61850LN_ln |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_Iec61850LN_ln |  | 1
io_BT_Iec61850LN_lnname | BT_Iec61850LN | lnname |  | io_BT_Iec61850LN_lnname | {http://www.siemens.com/DataWires/BasicTypes}String
io_BT_Iec61850MV_lnname | BT_Iec61850MV | lnname | io_BT_Iec61850MV_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_BT_Iec61850MV_mag | BT_Iec61850MV | mag | io_BT_Iec61850MV_mag |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_BT_XMPPClient_host | BT_XMPPClient | host | io_BT_XMPPClient_host |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_host |  | 1 | localhost
io_BT_XMPPClient_port | BT_XMPPClient | port | io_BT_XMPPClient_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_XMPPClient_port |  | 1 | 5222
io_BT_XMPPClient_service | BT_XMPPClient | service | io_BT_XMPPClient_service |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_service |  | 1
io_BT_XMPPClient_resource | BT_XMPPClient | resource | io_BT_XMPPClient_resource |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_resource |  | 1 | SiemensCT
io_BT_XMPPClient_compression | BT_XMPPClient | compression | io_BT_XMPPClient_compression |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_compression |  | 1 | true
io_BT_XMPPClient_debug | BT_XMPPClient | debug | io_BT_XMPPClient_debug |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_debug |  | 1 | false
io_BT_XMPPClient_securitymode | BT_XMPPClient | securitymode | io_BT_XMPPClient_securitymode |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_securitymode |  | 1 | ifpossible
io_BT_XMPPClient_trustallcerts | BT_XMPPClient | trustallcerts | io_BT_XMPPClient_trustallcerts |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_trustallcerts |  | 1 | false
io_BT_XMPPClient_trustcert | BT_XMPPClient | trustcert | io_BT_XMPPClient_trustcert |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_trustcert |  | 1 | true
io_BT_XMPPClient_allowallhostnames | BT_XMPPClient | allowallhostnames | io_BT_XMPPClient_allowallhostnames |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_allowallhostnames |  | 1 | false
io_BT_XMPPClient_createaccount | BT_XMPPClient | createaccount | io_BT_XMPPClient_createaccount |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_createaccount |  | 1 | false
io_BT_XMPPClient_retryinterval | BT_XMPPClient | retryinterval | io_BT_XMPPClient_retryinterval |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_XMPPClient_retryinterval |  | 1 | 30000
io_BT_XMPPClient_reconnectafterclose | BT_XMPPClient | reconnectafterclose | io_BT_XMPPClient_reconnectafterclose |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_BT_XMPPClient_reconnectafterclose |  | 1 | true
io_BT_XMPPClient_pinginterval | BT_XMPPClient | pinginterval | io_BT_XMPPClient_pinginterval |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_BT_XMPPClient_pinginterval |  | 1 | -1
io_BT_XMPPClient_user | BT_XMPPClient | user | io_BT_XMPPClient_user |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_user |  | 1
io_BT_XMPPClient_password | BT_XMPPClient | password | io_BT_XMPPClient_password |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_BT_XMPPClient_password |  | 1
io_BT_XMPPClient_connection | BT_XMPPClient | connection |  | io_BT_XMPPClient_connection | {http://www.siemens.com/DataWires/BasicTypes}ObjRef
io_BT_XMPPClient_connected | BT_XMPPClient | connected |  | io_BT_XMPPClient_connected | {http://www.siemens.com/DataWires/BasicTypes}Boolean

## Applications
[Application] | scopeDoc | scopeName
Scope | Documentation | ScopeName
app_in2vpp-modbus |  | in2vpp-modbus
[Components] | scopeICO | scopeIPO |  | scopeGroupId | scopeArtifactId
Scope | Scope | Scope |  | GroupId | ArtifactId
app_in2vpp-modbus_modbuspoll | BT_CyclicTimer | app_in2vpp-modbus | modbuspoll | com.siemens.datawires.basic | CyclicTimer
app_in2vpp-modbus_modbusread | BT_ModbusReadRegisters | app_in2vpp-modbus | modbusread | com.siemens.datawires.modbus.fb-modbus | ModbusReadRegisters
app_in2vpp-modbus_modbus | BT_ModbusTCP | app_in2vpp-modbus | modbus | com.siemens.datawires.modbus.fb-modbus | Modbus
app_in2vpp-modbus_hz | BT_ModbusSMAAdapter1 | app_in2vpp-modbus | hz | com.siemens.datawires.modbus.fb-modbus | ModbusSMAAdapter
app_in2vpp-modbus_totw | BT_ModbusSMAAdapter2 | app_in2vpp-modbus | totw | com.siemens.datawires.modbus.fb-modbus | ModbusSMAAdapter
app_in2vpp-modbus_totvar | BT_ModbusSMAAdapter3 | app_in2vpp-modbus | totvar | com.siemens.datawires.modbus.fb-modbus | ModbusSMAAdapter
app_in2vpp-modbus_xmpp | BT_XMPPClient | app_in2vpp-modbus | xmpp | com.siemens.ct.xmpp.generic-client | XMPPClient
app_in2vpp-modbus_IN2VPP | BT_Iec61850IED | app_in2vpp-modbus | IN2VPP | com.siemens.ct.iec61850.fb-iec61850 | Iec61850IED
app_in2vpp-modbus_server | BT_Iec61850IEDServer | app_in2vpp-modbus | server | com.siemens.ct.iec61850.fb-iec61850 | Iec61850IEDServer
app_in2vpp-modbus_node | BT_Iec61850LD | app_in2vpp-modbus | node | com.siemens.ct.iec61850.fb-iec61850 | Iec61850LD
app_in2vpp-modbus_mmxu1 | BT_Iec61850LN | app_in2vpp-modbus | mmxu1 | com.siemens.ct.iec61850.fb-iec61850 | Iec61850LN
app_in2vpp-modbus_mmxu1_hz | BT_Iec61850MV1 | app_in2vpp-modbus | mmxu1_hz | com.siemens.ct.iec61850.fb-iec61850 | Iec61850MV
app_in2vpp-modbus_mmxu1_totw | BT_Iec61850MV2 | app_in2vpp-modbus | mmxu1_totw | com.siemens.ct.iec61850.fb-iec61850 | Iec61850MV
app_in2vpp-modbus_mmxu1_totvar | BT_Iec61850MV3 | app_in2vpp-modbus | mmxu1_totvar | com.siemens.ct.iec61850.fb-iec61850 | Iec61850MV
[Interfaces] | portICO | portComponent | portName | portIsInput | portIsOutput | portType | portIsConst | portMinWires | portMaxWires | portDefValue
Port | Port | Scope | PortName | Port | Port | ConfigType | Port | Integer | Integer | ConfigValue
io_app_in2vpp-modbus_modbusread_from | io_BT_ModbusReadRegisters_from | app_in2vpp-modbus_modbusread | from | io_app_in2vpp-modbus_modbusread_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbusread_from | 1 | 1
io_app_in2vpp-modbus_modbusread_count | io_BT_ModbusReadRegisters_count | app_in2vpp-modbus_modbusread | count | io_app_in2vpp-modbus_modbusread_count |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbusread_count | 1 | 1
io_app_in2vpp-modbus_modbusread_trigger | io_BT_ModbusReadRegisters_trigger | app_in2vpp-modbus_modbusread | trigger | io_app_in2vpp-modbus_modbusread_trigger |  | {http://www.siemens.com/DataWires/BasicTypes}Void |  | 1 | 1
io_app_in2vpp-modbus_modbusread_readRegisters | io_BT_ModbusReadRegisters_readRegisters | app_in2vpp-modbus_modbusread | readRegisters |  | io_app_in2vpp-modbus_modbusread_readRegisters | {http://www.siemens.datawires/Modbus/Types}Range
io_app_in2vpp-modbus_modbus_unitID | io_BT_ModbusTCP_unitID | app_in2vpp-modbus_modbus | unitID | io_app_in2vpp-modbus_modbus_unitID |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbus_unitID |  | 1
io_app_in2vpp-modbus_modbus_host | io_BT_ModbusTCP_host | app_in2vpp-modbus_modbus | host | io_app_in2vpp-modbus_modbus_host |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_modbus_host |  | 1
io_app_in2vpp-modbus_modbus_port | io_BT_ModbusTCP_port | app_in2vpp-modbus_modbus | port | io_app_in2vpp-modbus_modbus_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbus_port |  | 1 | 502
io_app_in2vpp-modbus_modbus_idleTimeout | io_BT_ModbusTCP_idleTimeout | app_in2vpp-modbus_modbus | idleTimeout | io_app_in2vpp-modbus_modbus_idleTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbus_idleTimeout |  | 1
io_app_in2vpp-modbus_modbus_connectionTimeout | io_BT_ModbusTCP_connectionTimeout | app_in2vpp-modbus_modbus | connectionTimeout | io_app_in2vpp-modbus_modbus_connectionTimeout |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbus_connectionTimeout |  | 1
io_app_in2vpp-modbus_modbus_writeDelay | io_BT_ModbusTCP_writeDelay | app_in2vpp-modbus_modbus | writeDelay | io_app_in2vpp-modbus_modbus_writeDelay |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbus_writeDelay |  | 1
io_app_in2vpp-modbus_modbus_checkValidity | io_BT_ModbusTCP_checkValidity | app_in2vpp-modbus_modbus | checkValidity | io_app_in2vpp-modbus_modbus_checkValidity |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_modbus_checkValidity |  | 1
io_app_in2vpp-modbus_modbus_readRegisters | io_BT_ModbusTCP_readRegisters | app_in2vpp-modbus_modbus | readRegisters | io_app_in2vpp-modbus_modbus_readRegisters |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_app_in2vpp-modbus_modbus_readCoils | io_BT_ModbusTCP_readCoils | app_in2vpp-modbus_modbus | readCoils | io_app_in2vpp-modbus_modbus_readCoils |  | {http://www.siemens.datawires/Modbus/Types}Range |  |  | 1
io_app_in2vpp-modbus_modbus_writeCoils | io_BT_ModbusTCP_writeCoils | app_in2vpp-modbus_modbus | writeCoils | io_app_in2vpp-modbus_modbus_writeCoils |  | {http://www.siemens.datawires/Modbus/Types}CoilRange |  |  | 1
io_app_in2vpp-modbus_modbus_registerValues | io_BT_ModbusTCP_registerValues | app_in2vpp-modbus_modbus | registerValues |  | io_app_in2vpp-modbus_modbus_registerValues | {http://www.siemens.datawires/Modbus/Types}RegisterRange
io_app_in2vpp-modbus_modbus_coilValues | io_BT_ModbusTCP_coilValues | app_in2vpp-modbus_modbus | coilValues |  | io_app_in2vpp-modbus_modbus_coilValues | {http://www.siemens.datawires/Modbus/Types}CoilRange
io_app_in2vpp-modbus_modbus_status | io_BT_ModbusTCP_status | app_in2vpp-modbus_modbus | status |  | io_app_in2vpp-modbus_modbus_status | {http://www.siemens.com/DataWires/Alarm}Alarm
io_app_in2vpp-modbus_hz_from | io_BT_ModbusSMAAdapter_from | app_in2vpp-modbus_hz | from | io_app_in2vpp-modbus_hz_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_hz_from |  | 1
io_app_in2vpp-modbus_hz_type | io_BT_ModbusSMAAdapter_type | app_in2vpp-modbus_hz | type | io_app_in2vpp-modbus_hz_type |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_hz_type |  | 1
io_app_in2vpp-modbus_hz_format | io_BT_ModbusSMAAdapter_format | app_in2vpp-modbus_hz | format | io_app_in2vpp-modbus_hz_format |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_hz_format |  | 1
io_app_in2vpp-modbus_hz_registerValues | io_BT_ModbusSMAAdapter_registerValues | app_in2vpp-modbus_hz | registerValues | io_app_in2vpp-modbus_hz_registerValues |  | {http://www.siemens.datawires/Modbus/Types}RegisterRange |  |  | 1
io_app_in2vpp-modbus_hz_intValue | io_BT_ModbusSMAAdapter_intValue | app_in2vpp-modbus_hz | intValue |  | io_app_in2vpp-modbus_hz_intValue | {http://www.siemens.com/DataWires/BasicTypes}Integer
io_app_in2vpp-modbus_hz_longValue | io_BT_ModbusSMAAdapter_longValue | app_in2vpp-modbus_hz | longValue |  | io_app_in2vpp-modbus_hz_longValue | {http://www.siemens.com/DataWires/BasicTypes}Long
io_app_in2vpp-modbus_hz_floatValue | io_BT_ModbusSMAAdapter_floatValue | app_in2vpp-modbus_hz | floatValue |  | io_app_in2vpp-modbus_hz_floatValue | {http://www.siemens.com/DataWires/BasicTypes}Float
io_app_in2vpp-modbus_hz_stringValue | io_BT_ModbusSMAAdapter_stringValue | app_in2vpp-modbus_hz | stringValue |  | io_app_in2vpp-modbus_hz_stringValue | {http://www.siemens.com/DataWires/BasicTypes}String
io_app_in2vpp-modbus_totw_from | io_BT_ModbusSMAAdapter_from | app_in2vpp-modbus_totw | from | io_app_in2vpp-modbus_totw_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_totw_from |  | 1
io_app_in2vpp-modbus_totw_type | io_BT_ModbusSMAAdapter_type | app_in2vpp-modbus_totw | type | io_app_in2vpp-modbus_totw_type |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_totw_type |  | 1
io_app_in2vpp-modbus_totw_format | io_BT_ModbusSMAAdapter_format | app_in2vpp-modbus_totw | format | io_app_in2vpp-modbus_totw_format |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_totw_format |  | 1
io_app_in2vpp-modbus_totw_registerValues | io_BT_ModbusSMAAdapter_registerValues | app_in2vpp-modbus_totw | registerValues | io_app_in2vpp-modbus_totw_registerValues |  | {http://www.siemens.datawires/Modbus/Types}RegisterRange |  |  | 1
io_app_in2vpp-modbus_totw_intValue | io_BT_ModbusSMAAdapter_intValue | app_in2vpp-modbus_totw | intValue |  | io_app_in2vpp-modbus_totw_intValue | {http://www.siemens.com/DataWires/BasicTypes}Integer
io_app_in2vpp-modbus_totw_longValue | io_BT_ModbusSMAAdapter_longValue | app_in2vpp-modbus_totw | longValue |  | io_app_in2vpp-modbus_totw_longValue | {http://www.siemens.com/DataWires/BasicTypes}Long
io_app_in2vpp-modbus_totw_floatValue | io_BT_ModbusSMAAdapter_floatValue | app_in2vpp-modbus_totw | floatValue |  | io_app_in2vpp-modbus_totw_floatValue | {http://www.siemens.com/DataWires/BasicTypes}Float
io_app_in2vpp-modbus_totw_stringValue | io_BT_ModbusSMAAdapter_stringValue | app_in2vpp-modbus_totw | stringValue |  | io_app_in2vpp-modbus_totw_stringValue | {http://www.siemens.com/DataWires/BasicTypes}String
io_app_in2vpp-modbus_totvar_from | io_BT_ModbusSMAAdapter_from | app_in2vpp-modbus_totvar | from | io_app_in2vpp-modbus_totvar_from |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_totvar_from |  | 1
io_app_in2vpp-modbus_totvar_type | io_BT_ModbusSMAAdapter_type | app_in2vpp-modbus_totvar | type | io_app_in2vpp-modbus_totvar_type |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_totvar_type |  | 1
io_app_in2vpp-modbus_totvar_format | io_BT_ModbusSMAAdapter_format | app_in2vpp-modbus_totvar | format | io_app_in2vpp-modbus_totvar_format |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_totvar_format |  | 1
io_app_in2vpp-modbus_totvar_registerValues | io_BT_ModbusSMAAdapter_registerValues | app_in2vpp-modbus_totvar | registerValues | io_app_in2vpp-modbus_totvar_registerValues |  | {http://www.siemens.datawires/Modbus/Types}RegisterRange |  |  | 1
io_app_in2vpp-modbus_totvar_intValue | io_BT_ModbusSMAAdapter_intValue | app_in2vpp-modbus_totvar | intValue |  | io_app_in2vpp-modbus_totvar_intValue | {http://www.siemens.com/DataWires/BasicTypes}Integer
io_app_in2vpp-modbus_totvar_longValue | io_BT_ModbusSMAAdapter_longValue | app_in2vpp-modbus_totvar | longValue |  | io_app_in2vpp-modbus_totvar_longValue | {http://www.siemens.com/DataWires/BasicTypes}Long
io_app_in2vpp-modbus_totvar_floatValue | io_BT_ModbusSMAAdapter_floatValue | app_in2vpp-modbus_totvar | floatValue |  | io_app_in2vpp-modbus_totvar_floatValue | {http://www.siemens.com/DataWires/BasicTypes}Float
io_app_in2vpp-modbus_totvar_stringValue | io_BT_ModbusSMAAdapter_stringValue | app_in2vpp-modbus_totvar | stringValue |  | io_app_in2vpp-modbus_totvar_stringValue | {http://www.siemens.com/DataWires/BasicTypes}String
io_app_in2vpp-modbus_xmpp_host | io_BT_XMPPClient_host | app_in2vpp-modbus_xmpp | host | io_app_in2vpp-modbus_xmpp_host |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_host |  | 1 | localhost
io_app_in2vpp-modbus_xmpp_port | io_BT_XMPPClient_port | app_in2vpp-modbus_xmpp | port | io_app_in2vpp-modbus_xmpp_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_xmpp_port |  | 1 | 5222
io_app_in2vpp-modbus_xmpp_service | io_BT_XMPPClient_service | app_in2vpp-modbus_xmpp | service | io_app_in2vpp-modbus_xmpp_service |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_service |  | 1
io_app_in2vpp-modbus_xmpp_resource | io_BT_XMPPClient_resource | app_in2vpp-modbus_xmpp | resource | io_app_in2vpp-modbus_xmpp_resource |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_resource |  | 1 | SiemensCT
io_app_in2vpp-modbus_xmpp_compression | io_BT_XMPPClient_compression | app_in2vpp-modbus_xmpp | compression | io_app_in2vpp-modbus_xmpp_compression |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_compression |  | 1 | true
io_app_in2vpp-modbus_xmpp_debug | io_BT_XMPPClient_debug | app_in2vpp-modbus_xmpp | debug | io_app_in2vpp-modbus_xmpp_debug |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_debug |  | 1 | false
io_app_in2vpp-modbus_xmpp_securitymode | io_BT_XMPPClient_securitymode | app_in2vpp-modbus_xmpp | securitymode | io_app_in2vpp-modbus_xmpp_securitymode |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_securitymode |  | 1 | ifpossible
io_app_in2vpp-modbus_xmpp_trustallcerts | io_BT_XMPPClient_trustallcerts | app_in2vpp-modbus_xmpp | trustallcerts | io_app_in2vpp-modbus_xmpp_trustallcerts |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_trustallcerts |  | 1 | false
io_app_in2vpp-modbus_xmpp_trustcert | io_BT_XMPPClient_trustcert | app_in2vpp-modbus_xmpp | trustcert | io_app_in2vpp-modbus_xmpp_trustcert |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_trustcert |  | 1 | true
io_app_in2vpp-modbus_xmpp_allowallhostnames | io_BT_XMPPClient_allowallhostnames | app_in2vpp-modbus_xmpp | allowallhostnames | io_app_in2vpp-modbus_xmpp_allowallhostnames |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_allowallhostnames |  | 1 | false
io_app_in2vpp-modbus_xmpp_createaccount | io_BT_XMPPClient_createaccount | app_in2vpp-modbus_xmpp | createaccount | io_app_in2vpp-modbus_xmpp_createaccount |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_createaccount |  | 1 | false
io_app_in2vpp-modbus_xmpp_retryinterval | io_BT_XMPPClient_retryinterval | app_in2vpp-modbus_xmpp | retryinterval | io_app_in2vpp-modbus_xmpp_retryinterval |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_xmpp_retryinterval |  | 1 | 30000
io_app_in2vpp-modbus_xmpp_reconnectafterclose | io_BT_XMPPClient_reconnectafterclose | app_in2vpp-modbus_xmpp | reconnectafterclose | io_app_in2vpp-modbus_xmpp_reconnectafterclose |  | {http://www.siemens.com/DataWires/BasicTypes}Boolean | io_app_in2vpp-modbus_xmpp_reconnectafterclose |  | 1 | true
io_app_in2vpp-modbus_xmpp_pinginterval | io_BT_XMPPClient_pinginterval | app_in2vpp-modbus_xmpp | pinginterval | io_app_in2vpp-modbus_xmpp_pinginterval |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_xmpp_pinginterval |  | 1 | -1
io_app_in2vpp-modbus_xmpp_user | io_BT_XMPPClient_user | app_in2vpp-modbus_xmpp | user | io_app_in2vpp-modbus_xmpp_user |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_user |  | 1
io_app_in2vpp-modbus_xmpp_password | io_BT_XMPPClient_password | app_in2vpp-modbus_xmpp | password | io_app_in2vpp-modbus_xmpp_password |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_xmpp_password |  | 1
io_app_in2vpp-modbus_xmpp_connection | io_BT_XMPPClient_connection | app_in2vpp-modbus_xmpp | connection |  | io_app_in2vpp-modbus_xmpp_connection | {http://www.siemens.com/DataWires/BasicTypes}ObjRef
io_app_in2vpp-modbus_xmpp_connected | io_BT_XMPPClient_connected | app_in2vpp-modbus_xmpp | connected |  | io_app_in2vpp-modbus_xmpp_connected | {http://www.siemens.com/DataWires/BasicTypes}Boolean
io_app_in2vpp-modbus_IN2VPP_iedname | io_BT_Iec61850IED_iedname | app_in2vpp-modbus_IN2VPP | iedname |  | io_app_in2vpp-modbus_IN2VPP_iedname | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_IN2VPP_model | io_BT_Iec61850IED_model | app_in2vpp-modbus_IN2VPP | model | io_app_in2vpp-modbus_IN2VPP_model |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_IN2VPP_model |  | 1
io_app_in2vpp-modbus_server_iedname | io_BT_Iec61850IEDServer_iedname | app_in2vpp-modbus_server | iedname | io_app_in2vpp-modbus_server_iedname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_server_connection | io_BT_Iec61850IEDServer_connection | app_in2vpp-modbus_server | connection | io_app_in2vpp-modbus_server_connection |  | {http://www.siemens.com/DataWires/BasicTypes}ObjRef |  |  | 1
io_app_in2vpp-modbus_server_mode | io_BT_Iec61850IEDServer_mode | app_in2vpp-modbus_server | mode | io_app_in2vpp-modbus_server_mode |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_server_mode |  | 1
io_app_in2vpp-modbus_server_port | io_BT_Iec61850IEDServer_port | app_in2vpp-modbus_server | port | io_app_in2vpp-modbus_server_port |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_server_port |  | 1
io_app_in2vpp-modbus_server_serverStarted | io_BT_Iec61850IEDServer_serverStarted | app_in2vpp-modbus_server | serverStarted |  | io_app_in2vpp-modbus_server_serverStarted | {http://www.siemens.com/DataWires/BasicTypes}Void
io_app_in2vpp-modbus_node_iedname | io_BT_Iec61850LD_iedname | app_in2vpp-modbus_node | iedname | io_app_in2vpp-modbus_node_iedname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_node_serverStarted | io_BT_Iec61850LD_serverStarted | app_in2vpp-modbus_node | serverStarted | io_app_in2vpp-modbus_node_serverStarted |  | {http://www.siemens.com/DataWires/BasicTypes}Void |  |  | 1
io_app_in2vpp-modbus_node_ld | io_BT_Iec61850LD_ld | app_in2vpp-modbus_node | ld | io_app_in2vpp-modbus_node_ld |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_node_ld |  | 1
io_app_in2vpp-modbus_node_ldname | io_BT_Iec61850LD_ldname | app_in2vpp-modbus_node | ldname |  | io_app_in2vpp-modbus_node_ldname | {http://www.siemens.com/DataWires/BasicTypes}String
io_app_in2vpp-modbus_mmxu1_ldname | io_BT_Iec61850LN_ldname | app_in2vpp-modbus_mmxu1 | ldname | io_app_in2vpp-modbus_mmxu1_ldname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_mmxu1_ln | io_BT_Iec61850LN_ln | app_in2vpp-modbus_mmxu1 | ln | io_app_in2vpp-modbus_mmxu1_ln |  | {http://www.siemens.com/DataWires/BasicTypes}String | io_app_in2vpp-modbus_mmxu1_ln |  | 1
io_app_in2vpp-modbus_mmxu1_lnname | io_BT_Iec61850LN_lnname | app_in2vpp-modbus_mmxu1 | lnname |  | io_app_in2vpp-modbus_mmxu1_lnname | {http://www.siemens.com/DataWires/BasicTypes}String
io_app_in2vpp-modbus_mmxu1_hz_lnname | io_BT_Iec61850MV_lnname | app_in2vpp-modbus_mmxu1_hz | lnname | io_app_in2vpp-modbus_mmxu1_hz_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_mmxu1_hz_mag | io_BT_Iec61850MV_mag | app_in2vpp-modbus_mmxu1_hz | mag | io_app_in2vpp-modbus_mmxu1_hz_mag |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_app_in2vpp-modbus_mmxu1_totw_lnname | io_BT_Iec61850MV_lnname | app_in2vpp-modbus_mmxu1_totw | lnname | io_app_in2vpp-modbus_mmxu1_totw_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_mmxu1_totw_mag | io_BT_Iec61850MV_mag | app_in2vpp-modbus_mmxu1_totw | mag | io_app_in2vpp-modbus_mmxu1_totw_mag |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_app_in2vpp-modbus_mmxu1_totvar_lnname | io_BT_Iec61850MV_lnname | app_in2vpp-modbus_mmxu1_totvar | lnname | io_app_in2vpp-modbus_mmxu1_totvar_lnname |  | {http://www.siemens.com/DataWires/BasicTypes}String |  |  | 1
io_app_in2vpp-modbus_mmxu1_totvar_mag | io_BT_Iec61850MV_mag | app_in2vpp-modbus_mmxu1_totvar | mag | io_app_in2vpp-modbus_mmxu1_totvar_mag |  | {http://www.siemens.com/DataWires/BasicTypes}Float |  |  | 1
io_app_in2vpp-modbus_modbuspoll_repeat | io_BT_CyclicTimer_repeat | app_in2vpp-modbus_modbuspoll | repeat | io_app_in2vpp-modbus_modbuspoll_repeat |  | {http://www.siemens.com/DataWires/BasicTypes}Integer | io_app_in2vpp-modbus_modbuspoll_repeat |  | 1
io_app_in2vpp-modbus_modbuspoll_event | io_BT_CyclicTimer_event | app_in2vpp-modbus_modbuspoll | event |  | io_app_in2vpp-modbus_modbuspoll_event | {http://www.siemens.com/DataWires/BasicTypes}Void
[Wires] | wScope | wSrc | wTgt
Wire | Scope | Port | Port
& | app_in2vpp-modbus | io_app_in2vpp-modbus_modbuspoll_event | io_app_in2vpp-modbus_modbusread_trigger
& | app_in2vpp-modbus | io_app_in2vpp-modbus_modbusread_readRegisters | io_app_in2vpp-modbus_modbus_readRegisters
& | app_in2vpp-modbus | io_app_in2vpp-modbus_modbus_registerValues | io_app_in2vpp-modbus_hz_registerValues
& | app_in2vpp-modbus | io_app_in2vpp-modbus_modbus_registerValues | io_app_in2vpp-modbus_totw_registerValues
| app_in2vpp-modbus | io_app_in2vpp-modbus_hz_floatValue | 0
| app_in2vpp-modbus | io_app_in2vpp-modbus_totw_floatValue | 0
& | app_in2vpp-modbus | io_app_in2vpp-modbus_IN2VPP_iedname | io_app_in2vpp-modbus_server_iedname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_IN2VPP_iedname | io_app_in2vpp-modbus_node_iedname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_server_serverStarted | io_app_in2vpp-modbus_node_serverStarted
& | app_in2vpp-modbus | io_app_in2vpp-modbus_xmpp_connection | io_app_in2vpp-modbus_server_connection
& | app_in2vpp-modbus | io_app_in2vpp-modbus_node_ldname | io_app_in2vpp-modbus_mmxu1_ldname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_mmxu1_lnname | io_app_in2vpp-modbus_mmxu1_hz_lnname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_mmxu1_lnname | io_app_in2vpp-modbus_mmxu1_totw_lnname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_mmxu1_lnname | io_app_in2vpp-modbus_mmxu1_totvar_lnname
& | app_in2vpp-modbus | io_app_in2vpp-modbus_modbuspoll_event | io_app_in2vpp-modbus_modbusread_trigger
[Constants] | constScope | constName | constPort | constType | constValue | constQstn
Constant | Scope | ConstantName | Port | ConfigType | ConfigValue | Question
& | app_in2vpp-modbus | from | io_app_in2vpp-modbus_modbusread_from | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: from
& | app_in2vpp-modbus | count | io_app_in2vpp-modbus_modbusread_count | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: count
& | app_in2vpp-modbus | unitID | io_app_in2vpp-modbus_modbus_unitID | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: unitID
& | app_in2vpp-modbus | host | io_app_in2vpp-modbus_modbus_host | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: host
& | app_in2vpp-modbus | port | io_app_in2vpp-modbus_modbus_port | {http://www.siemens.com/DataWires/BasicTypes}Integer | 502 | Please fill: port
& | app_in2vpp-modbus | hz_from | io_app_in2vpp-modbus_hz_from | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: hz_from
& | app_in2vpp-modbus | hz_type | io_app_in2vpp-modbus_hz_type | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: hz_type
& | app_in2vpp-modbus | hz_format | io_app_in2vpp-modbus_hz_format | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: hz_format
& | app_in2vpp-modbus | totw_from | io_app_in2vpp-modbus_totw_from | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: totw_from
& | app_in2vpp-modbus | totw_type | io_app_in2vpp-modbus_totw_type | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: totw_type
& | app_in2vpp-modbus | totw_format | io_app_in2vpp-modbus_totw_format | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: totw_format
& | app_in2vpp-modbus | totvar_from | io_app_in2vpp-modbus_totvar_from | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: totvar_from
& | app_in2vpp-modbus | totvar_type | io_app_in2vpp-modbus_totvar_type | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: totvar_type
& | app_in2vpp-modbus | totvar_format | io_app_in2vpp-modbus_totvar_format | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: totvar_format
& | app_in2vpp-modbus | xmpp_host | io_app_in2vpp-modbus_xmpp_host | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: xmpp_host
& | app_in2vpp-modbus | xmpp_port | io_app_in2vpp-modbus_xmpp_port | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: xmpp_port
& | app_in2vpp-modbus | service | io_app_in2vpp-modbus_xmpp_service | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: service
& | app_in2vpp-modbus | resource | io_app_in2vpp-modbus_xmpp_resource | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: resource
& | app_in2vpp-modbus | compression | io_app_in2vpp-modbus_xmpp_compression | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: compression
& | app_in2vpp-modbus | debug | io_app_in2vpp-modbus_xmpp_debug | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: debug
& | app_in2vpp-modbus | securitymode | io_app_in2vpp-modbus_xmpp_securitymode | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: securitymode
& | app_in2vpp-modbus | trustallcerts | io_app_in2vpp-modbus_xmpp_trustallcerts | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: trustallcerts
& | app_in2vpp-modbus | trustcert | io_app_in2vpp-modbus_xmpp_trustcert | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: trustcert
& | app_in2vpp-modbus | allowallhostnames | io_app_in2vpp-modbus_xmpp_allowallhostnames | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: allowallhostnames
& | app_in2vpp-modbus | createaccount | io_app_in2vpp-modbus_xmpp_createaccount | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: createaccount
& | app_in2vpp-modbus | retryinterval | io_app_in2vpp-modbus_xmpp_retryinterval | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: retryinterval
& | app_in2vpp-modbus | reconnectafterclose | io_app_in2vpp-modbus_xmpp_reconnectafterclose | {http://www.siemens.com/DataWires/BasicTypes}Boolean |  | Please fill: reconnectafterclose
& | app_in2vpp-modbus | pinginterval | io_app_in2vpp-modbus_xmpp_pinginterval | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: pinginterval
& | app_in2vpp-modbus | user | io_app_in2vpp-modbus_xmpp_user | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: user
& | app_in2vpp-modbus | password | io_app_in2vpp-modbus_xmpp_password | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: password
& | app_in2vpp-modbus | model | io_app_in2vpp-modbus_IN2VPP_model | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: model
& | app_in2vpp-modbus | mode | io_app_in2vpp-modbus_server_mode | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: mode
& | app_in2vpp-modbus | 61850_port | io_app_in2vpp-modbus_server_port | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: 61850_port
& | app_in2vpp-modbus | ld | io_app_in2vpp-modbus_node_ld | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: ld
& | app_in2vpp-modbus | ln | io_app_in2vpp-modbus_mmxu1_ln | {http://www.siemens.com/DataWires/BasicTypes}String |  | Please fill: ln
& | app_in2vpp-modbus | repeat | io_app_in2vpp-modbus_modbuspoll_repeat | {http://www.siemens.com/DataWires/BasicTypes}Integer |  | Please fill: repeat